## Slide 1
Approval of Physical Plant Codes and Standards
Presenting To
Central Arizona Society for Healthcare Engineering (CASHE)
April 12, 2017

## Slide 2: Objectives
Attendees will have a better understanding of the process for approval of physical plant codes and standards required by Arizona Revised Statutes (ARS- 421), Arizona Administrative Code (AAC R9-1-412) and respective health care institution licensing rules (AAC R9-10-Article 1-19)
Attendees will have information on completing an application for construction or modification and “doing it right the first time”
Attendees will hear from resources available at ADHS

## Slide 3: ADHS Vision and Mission
Our Vision
  Health and Wellness for all Arizonans
Our Mission
  To promote, protect and improve the health and wellness of individuals and communities in Arizona
Our Strategic Map
Strengthen Arizona’s Public Health System Through Alignment and Coordination

## Slide 4: ADHS Strategic Map
  Provides a single public health umbrella concentrating on activities and resources that will achieve better outcomes
  Gives ADHS a clear strategic direction, a path for implementing the strategy and an effective approach for community involvement

## Slide 5: Strengthen Arizona’s Public Health System through Alignment and Coordination
Make focused improvements in the Public Health Infrastructure
  Improve coordination with Health Care Partners
Maximize Agency Effectiveness
  Optimize Agency Systems and Infrastructure

## Slide 6: Public Health Licensing
Promote and Support Public Health and Safety
Primary Focus
  Health and Safety of Patients/Residents
  Evidence Based Outcome Survey
  Facility conforming to their own policies and procedures
Goal
  Deficiency Free Arizona
  Patient/Resident focused
  Collaboration

## Slide 7: Public Health Licensing
Our Key Work Processes in Licensing
  State Licensing Statutes and Rules
    Foundational rules to operate a Health Care Institution
  Medicare Rules and Regulations
    #1 Survey and Certification Regulation is Comply with all State statutes and rules

## Slide 8: Cross-cutting Strategies
Practice Continuous Quality Improvement
Improve the Customer Experience
Foster Open Communication and Transparency
Implement Best, Promising and Evidence- Based Practices

## Slide 9: Opportunity for Improvement
Arizona Management System
Agency Performance Measures
  Overall Licensing Initial Application Processing Time
    Medical Licensing Initial Application Processing Time
    Residential Licensing Initial Application Processing Time
    Long Term Care Licensing Initial Application Processing Time
  Approval of Architectural Plans and Specifications Processing time

## Slide 10: Practice Continuous Quality Improvement
Understand the process
  Flow chart of current process/future process
Measure the process
  New Applications
  Construction Closeout Documents
  Approvals Granted
  Timeframe Compliance
Improve the process

## Slide 11: Understand the Process

## Slide 12: Measure the Process
  Data 2015
    New Applications received- 202
    Construction Closing Documents received- 211

## Slide 13: Measure the Process
  Data 2016
    New Applications received- 151
      Initials- 57
      Modifications- 94
    Construction Closing Documents received- 137
    Approvals Granted- 172 (151 plus 21 backlog)
      Initials- 57
      Modifications- 94
    Approval Times
      Less than 30 days- 28
      31 days to 60 days- 67
      Greater than 60 days- 44

## Slide 14: Improve the Process
Improvement Project
  Reduce the time for granting Approval of Architectural Plans and Specifications Applications by 50%

## Slide 15: Improvement Strategy
Established a team of internal process owners
Reviewed all Statutes and Rules related to Architectural Plans and Specifications
Made improvement to processes
Continue to make improvements
  Using customer experiences
  Open communication and transparency
  Implement best, promising and evidence-based practices

## Slide 16: Review of Statutes and Rules
AZ Legislation 43rd session/1997-- HB2149
  Eliminated the “permit process” which required review of architectural plans and specifications and issuing a permit before construction could begin

## Slide 17: Current Statute ARS-36-421. Application for construction and modification
    A. An initial license application for a health care institution shall include architectural plans and specifications. These plans and specifications shall meet the minimum standards for licensure within the class or subclass of health care institution for which it is intended. The application shall include the name and address of each owner and lessee of any agricultural land regulated pursuant to ARS 3.365.

## Slide 18
  Application for construction and modification (continued)
      B. Construction or modification of a licensed health care institution shall meet the minimum standards for licensure within the class or subclass of the health care institution for which it is intended.
      C. An applicant shall comply with all state statutes and rules and local codes and ordinances required for the health care institution’s construction.

## Slide 19
  Application for construction and modification (continued)
  D. Statute regarding property that is less than 400 feet from agricultural land
  E. Statute regarding Psychiatric acute behavioral health facility -inpatient facility physical plant standards
      F. For the purposes of this section, health care institution does not include a home health agency, a mental health agency or a hospice service agency.

## Slide 20: Understanding Terms
  Class and Subclass
  Minimum Standards
  Construction
  Modification
  Substantial Compliance

## Slide 21: Class or Subclass of Health Care Institutions requiring Approval of Architectural Plans and Specifications Application
  Hospitals
  Nursing Care Institutions
  Recovery Care Centers
  Inpatient Hospices
  Assisted Living Centers
  Outpatient Surgical Centers
  Outpatient Treatment Centers providing
    dialysis services and
    freestanding emergency services
  Adult Day Health Care Facilities

## Slide 22: Minimum Standards
  Physical Plant Codes and Standards incorporated by reference in Arizona Administrative Code (A.A.C) R9-1-412

## Slide 23: A.A.C. R9-1-412. Physical Plant Health and Safety Codes and Standards
A. The following physical plant health and safety codes and standards are incorporated by reference as modified, are on file with the Department, and include no future editions or amendments:
1. Guidelines for Design and Construction of Health Care Facilities (2010 ed.), published by the American Society for Healthcare Engineering and available from The Facility Guidelines Institute at www.fgiguidelines.org;

## Slide 24
2. The following National Fire Codes (2012), published by and available from the National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02269, and at www.nfpa.org/catalog:
a. NFPA70 National Electrical Code,
b. NFPA101 Life Safety Code, and
c. 2012 Supplementals
3. International Building Code (2012), published by and available from the International Code Council, Inc., Publications, 4051 W. Flossmoor Road, Country Club Hills, IL 60478-5795, and at www.iccsafe.org, with the following modifications:…

## Slide 25
4. International Mechanical Code (2012), published by and available from the International Code Council, Inc., Publications,4051 W. Flossmoor Road, Country Club Hills, IL 60478-5795, and at www.iccsafe.org, with the following modifications:…
5. International Plumbing Code (2012), published by and available from the International Code Council, Inc., Publications,4051 W. Flossmoor Road, Country Club Hills,IL 60478-5795, and at www.iccsafe.org, with the following modifications:…

## Slide 26
6. International Fire Code (2012), published by and available from the International Code Council, Inc., Publications, 4051 W. Flossmoor Road, Country Club Hills, IL 60478-5795, and at www.iccsafe.org, with the following modifications:…
7. ICC/A117.1-2009, American National Standard: Accessible and Usable Buildings and Facilities (2009), published by and available from the International Code Council,Inc., Publications, 4051 W. Flossmoor Road, Country Club Hills, IL 60478-5795, and at www.iccsafe.org;

## Slide 27
8. International Fuel Gas Code (2012), published by and available from the International Code Council, Inc., Publications, 4051 W. Flossmoor Road, Country Club Hills, IL 60478-5795, and at www.iccsafe.org, with the following modifications:…
9. International Private Sewage Disposal Code (2012), published by and available from the International Code Council, Inc., Publications, 4051 W. Flossmoor Road, Country Club Hills, IL 60478-5795, and at www.iccsafe.org, with the following modifications:…

## Slide 28: R9-1-Article 4 Codes and Standards
Always verify the effective date of the applicable regulation
Other jurisdictions- federal, county, city or other state agencies may have applicable requirements that may be additional (such as local zoning ordinances) or more restrictive than the minimum requirements established by these rules and regulations.

## Slide 29: R9-1-Article 4 Codes and Standards
If a conflict occurs among standards adopted by reference, the more restrictive standard shall govern

## Slide 30: “Construction”
ARS 36-401.11 “Construction” means the building, erection, fabrication or installation of a health care institution”

## Slide 31: “Modification”
ARS 36-401.30 “Modification” means the substantial improvement, enlargement, reduction or alteration of or other change in a health care institution

## Slide 32: R9-10-110 Modification of a Health care Institution
A. A licensee of a health care institution is required by this Chapter to comply with any of the physical plant codes and standards incorporated by reference in A.A.C. R9-1-412 shall submit an application for approval of architectural plans and specifications for a modification of the health care institution

## Slide 33: R9-10-110 Modification of a Health care Institution
B. A licensee of a health care institution shall submit a written request for a modification of the health care institution in a department provided format that contains:
  The health care institution’s name, address, and license number;
  A narrative description of the modification;
  The name of the health care institution’s administrator’s or individual representing the health care institution as designated in ARS 36-422 and the dated signature of the administrator or individual; and

## Slide 34: R9-10-110 Modification of a Health care Institution
  One of the following:
    For a health care institution that is required to comply with the physical plant codes and standards incorporated by reference in AAC R9-1-412 for the building, documentation of the health care institution's architectural plans and specifications approved in R9-10-104; or
    For a health care institution that is not required to comply with the physical plant codes and standards, documentation that the requested modification complies with applicable requirements in this Chapter.

## Slide 35: R9-10-110 Modification of a Health care Institution
C. The Department shall approve or deny the request for a modification in subsection (B) according to R9-10-108
D. A licensee shall not implement a modification described in subsection (B) until an approval or amended license is issued by the Department

## Slide 36: “Substantial”
R9-10-101.194 “Substantial” when used in connection with a modification means:
  A change in the health care institution’s licensed capability, licensed occupancy, or the number of dialysis stations;
  An addition or deletion of an authorized service;
  A change in the physical plant, including facilities or equipment, that costs more than $300,000
  A change in the building where a health care institution is located that affects compliance with applicable physical plant codes and standards incorporated by reference in A.A.C.R9-1-412

## Slide 37: Application for License
  ARS 36-422.C Requires an initial license application to be filed at least 60 but no more than 120 days before the anticipated date of operation…
    Initial application must also include Department approval of construction architectural plans and specifications that meet minimum standards for licensure within the class or subclass the facility is intended

## Slide 38: Licensing Rules Section- Physical Plant Standards
  An Administrator shall ensure that:
    The applicable physical plant health and safety codes and standards, incorporated by reference in AAC R9-10-412, that were in effect on the date the health care institution submitted architectural plans and specifications to the Department for approval according to R9-10-104

## Slide 39: A.A.C.R9-10-104 Approval of Architectural Plans and Specifications
A. …Applicant shall submit to the Department an application packet including:
  An application in a format provided by the Department that contains…
  If the HCI is located on land under the jurisdiction of a local government agency, one of the following…

## Slide 40
  3. The following information that is necessary to demonstrate that the project described on the application complies with applicable codes and standards incorporated by reference …
  4. The estimated total project cost…
  5. The following, as applicable…
  6. For construction of a new HCI and for a modification of a HCI that requires a project architect, a statement signed by the project architect that final architectural plans and specifications have been submitted to the person applying for the HCI license or the licensee of the HCI

## Slide 41
  7. For modification of a HCI that does not require a project architect, a statement signed by the project engineer or other individual responsible for the completion of the modification that final architectural plans and specifications have been submitted to the person applying for a HCI license or the licensee of the HCI
  8. The application fee required by R9-10-106

## Slide 42: Architectural Evaluation
R9-10-104.B. Before an applicant submits an application for approval of architectural plans and specifications for the construction or modification of a health care institution, an applicant may request an Architectural Evaluation by submitting the documents in subsection (A)(3)

## Slide 43
Architectural Evaluation is available to assist in understanding of the FGI and physical plant standards
Architectural Evaluation is an informal meeting with a member of the Licensing Architectural Surveyor Group, Licensing Bureau, Facility Owner or designee and Architect of Record and may include others as needed to evaluate the project for FGI Guidelines and other code compliance

## Slide 44
Call to schedule an Architectural Evaluation
Required items for the evaluation meeting:
  Crosswalk of building construction or modification to applicable physical plant codes and standards
  Identify gaps to be discussed

## Slide 45: On-Site Facility Review
R9-10-104.C. The Department may conduct on-site facility reviews during the construction or modification of a health care institution.
Currently have suspended onsite facility reviews during construction or modification

## Slide 46: A.A.C. R9-10-108- Time-Frames
R9-10-104 Approval of Architectural Plans and Specifications
  Overall Time-frame: 105 calendar days
  Administrative Completeness Time-frame: 45 calendar days
  Substantive Review Time-frame: 60 calendar days

## Slide 47: Time-Frames
R9-10-110- Approval of a modification of a health care institution
  Overall Time-frame: 75 calendar days
  Administrative Completeness Time-frame: 15 calendar days
  Substantive Review Time-frame: 60 calendar days

## Slide 48: Administrative Completeness Review
Time-frame begins on the date the Department receives an application packet
If the application packet is incomplete, the Department shall provide a written notice specifying the missing documents or incomplete information
The administrative completeness review time-frame and overall time-frame are suspended from the date of the notice until the date the Department receives the missing documents or information

## Slide 49
When the application packet is complete, the Department shall provide a written notice of administrative completeness
For an initial health care institution, the Department shall consider the application withdrawn if the applicant fails to supply the missing documents or information included in the notice within180 calendar days after the notice of incomplete

## Slide 50: Substantive Review
Time-frame begins on the date of the notice of administrative completeness
The administrative complete application is given to the Surveyor-Architect to conduct the substantive review using the required “minimum standards” (rules) found in R9-10-412
The Department may conduct an onsite inspection of the facility as part of the substantive review for approval of architectural plans and specifications for initial construction or modification

## Slide 51: Substantive Review
The Department may make one comprehensive written request for information or documentation. This request will be made to the applicant with a cc: to project architect, project engineer or other individual responsible for the completion of the construction or modification.
The time-frame to complete the substantive review is “suspended” from the date of the request for additional information until the Department receives the additional information/documentation
The Department will send a written notice of approval to the applicant

## Slide 52: Improvements
March 1, 2016 - Require application for each phase of construction or modification *
August 1, 2016- Implement Time-frames found in R9-10-108:
  “Administrative Completeness Review Time-frame” and the “Substantive Review Time-frame” for Approval of Architectural plans and specifications (R9-10-104) and Approval of a modification of a health care institution (R9-10-110)

## Slide 53
August 1- Accept a TCO as long as the requirements do not affect the building where the delivery of health care services is being provided.
February 1, 2017- Application will be withdrawn if the applicant fails to supply the missing documents or information included in the administrative incomplete notice within 180 calendar days after the date of notice.
March 23, 2017- Applicant will received one comprehensive written request for information.

## Slide 55: Top Administrative Completeness Deficiencies
Sandy Farmer
Administrative Support Staff

## Slide 56
Closing documents not submitted with application package
Application incorrectly filled out, i.e. project is a modification and page 1 is completed for new construction
Architect’s Attestation letter that they have reviewed the closing documents
Governing Authority letter is missing
Insufficient project summary

## Slide 57
Projects submitted as 1 application when it should be phased and submitted under multiple applications
Bed increase request missing all supplemental documentation for this modification type
Architect’s Attestation Letter not sealed
Project cost not filled out or, total is not completed
Application fee not submitted with application

## Slide 58: Top Substantive Review Deficiencies
Lois Adams
Richard Luckett
Charles Kelley
Physical Plant Surveyors

## Slide 59
Item 4: Fire Alarm System:
a) Certification and Description – 2010 NFPA 72. If requested, forms will be provided.
b) Kitchen hood extinguishing system and grease duct exhaust system testing and approval, if applicable. R9-10-104.A.5.d We no longer provide the forms; please find them at www.nfpa.org
  See the form in 2010 NFPA 72, Chap. 14.
Item 5: Automatic Fire Extinguishing System:
a) Contractor’s Material and Test Certificate for Under Ground piping as per 2010 NFPA, We no longer provide the forms; please find them at www.nfpa.org and
b) Above Ground piping, as per 2010 NFPA 13. R9-10-104.A.5.e See the Underground form in 2010 NFPA 13, Chap. 10, and the Aboveground form in 2010 NFPA 13, Chap. 24.

## Slide 60
Item 6: HVAC systems (heating, ventilation, air conditioning): The engineer’s submittal is often missing (see “b” below).
a) A Test and Air Balance Report.
The Mechanical Engineer shall submit: 1) written review of the report, 2) deficiency list, 3) follow-up letter upon correction and 4) a matrix of Air changes, pressure, and supply/return c.f.m. values as per ASHRAE table 7.1. 5) Duct smoke detector test report.
c. Kitchen hood testing and approval, if applicable.
d) Signed special inspections form by the engineer of record, if applicable. R9-10-104.A.5.f

## Slide 61
Item 9: Medical Gas and Vacuum Systems: The engineer’s submittal is often missing (see “b” below).
a) The Compliance certification as per 2012 NFPA99 Ch. 5.1.12 shall be completed with room names and numbers listed on drawings as well as the facility assigned room numbers.
b) A signed letter from the Engineer of Record stating the Category of the installed Gas and Vacuum System as described in 2012 NFPA99 Ch.5.
c) If a Bulk Oxygen system (2012 NFPA 99-3.3.21.3): the approved drawings for underground piping, installer certifications, and emergency oxygen supply connection (2012 NFPA 99-5.1.3.5.13). R9-10-104.A.5.h

## Slide 62
Item 11: Site Plan and Floor Plan(s). Submit 11”x17” paper copies w/graphic scale. You may include the code sheet and enlarged resident rooms, and others that you see will assist to speed up our review.

## Slide 63
Item 14: Installation Acceptance for new Emergency Generator: The engineer’s submittal is often missing (see “e” below).
  Reference per 2010 NFPA 110-7.13, 2012 NFPA 99 Chap. 6 including:
    KW capacity
    quantity of transfer switches
    capacity of on-site fuel storage
  Test reports for each Line Isolation monitor panel if used, per 2012 NFPA 99-6.3.3.3,
  a signed letter from the Electrical Engineer of Record stating the Level of EES installed (emergency electrical system per 2010 NFPA 110 Chap. 4). R9-10-104.A.5.i

## Slide 64: Organization of Documents
Make the surveyor’ s job easier
  Understand what they want and give it to us
  Put the required documents in order outlined
  Provide the evidence that demonstrates compliance with the requirements
How would you like the documents to look if you were the surveyor? What would impress you?

## Slide 65: Organization of Documents
This is KEY to any successful outcome
Please tab and organize the documents required in a logical fashion.
Do Not send documents that are NOT required. Send only the documents that provide evidence that the items requested are in compliance.
Your assistance will assist us in meeting a mutual timeline.

## Slide 66: Website
Requirements
Tools
Fees
Additional Resources
http://azdhs.gov/licensing/index.php#architectural-plans

## Slide 67: Contacts
Kathy McCanna
  Branch Chief
  Kathryn.McCanna@azdhs.gov
Sandy Farmer
  Administrative Support Staff/Administrative Review
  Sandy.Farmer@azdhs.gov
Lois Adams
  Physical Plant Surveyor/Substantive Review
  Lois.Adams@azdhs.gov

## Slide 68: Contacts
Richard Luckett
  Physical Plant Surveyor/Substantive Review
  Richard.Luckett@azdhs.gov
Charles Kelley
  Physical Plant Surveyor/Substantive Review
  Charles.Kelley@azdhs.gov