## Slide 1: Step 6: VTMC Arizona User Dash Board
https://vtmc.ameri-pharma.com
Save As “Favorite”
Your E-Mail Address
Example:
Temporary Password: JDiaz123
First character of first name CAPTIAL
First character of last name CAPITAL, remaining letters lower case, followed by 123
37

## Slide 2: Step 6: VTMC Arizona User Dash Board
User dashboard display will only include locations that have been assigned to them.
38

## Slide 3: Step 6: VTMC Arizona User Dash Board
Inspection Marks,
Green Check indicates provider has performed 100%
Yellow Warning, indicates provider has performed 90%
Red Alert, indicates provider has performed less than 80%
39

## Slide 4: Step 6: VTMC Arizona User Dash Board
List lasts 30 downloaded reports
Certifying Inspections:
Opens on-line temperature log
40

## Slide 5: Step 6: VTMC Arizona User Dash Board
Certified by provider logged in
41

## Slide 6: Step 6: VTMC Arizona User Dash Board
42
Acknowledging an alarm

## Slide 7: Step 6: VTMC Arizona User Dash Board
Provider must Acknowledge Alert, then enter Doc’s or CAR
information
Spyglass openings detail alert information
43

## Slide 8: Step 6: VTMC Arizona User Dash Board
44

## Slide 9: Step 6: VTMC Arizona User Dash Board
Select as many reasons necessary
45

## Slide 10: Step 6: VTMC Arizona User Dash Board
Opens Day over Day Report
46

## Slide 11: Step 6: VTMC Arizona User Dash Board
Selecting Day / month will open Zone Detail Chart
Displays hourly averages
Dark Blue: Low Alarm
Light Blue: Low warning
Red: High Alarm
Orange: High Warning
Green: Normal Temperature
47

## Slide 12: Step 6: VTMC Arizona User Dash Board
48